## Sheet1
Client Name | Voltage Level | Sanctioned Load (kVA) | Contract Demand (kVA) | Average Load Factor | Annual Consumption | Installed Solar Capacity (AC) | Installed Solar Capacity (DC) | Losses | Annual Setoff | Percent Green Consumption | Base Tariff | Load Factor Rebate | Power Tariff | 6-10 PM Consumption | 6-8 AM Consumption | Peak Hour Consumption (6-8 AM and 6-10 PM) | 12-4 PM Consumption
TULSI PALACE RESORTS | 11 | 2500 | 2.5 | 27.05% | 5923950 | 2.5 | 3.5 | 17.6% | 4614400 | 77.89% | 7.3 | 0 | 7.94 | 20.21% | 7.938% | 1667351.8565 | 987325
LORDS CHLORO | 132 | 52134 | 40 | 63% | 287717119.2 | 11.5 | 16 | 5% | 24320000 | 8.453% | 7.3 | 1 | 6.74 | 16.75% | 8.64% | 73051376.5649 | 47952853.2